

**Roll-A-Shade**

**Exterior Roller Window Shade – Specification Guide**

With years of window shade manufacturing experience and a standard of excellence, Roll-A-Shade® has consistently been providing nationally ranked companies and architectural firms with innovative products, impeccable service and outstanding quality for over 30 years. Roll-A-Shade® offers complete project management from start to finish - all jobs are measured, manufactured, installed and serviced by Roll-A-Shade®

By continuously striving to provide the highest standards of service available through its trained technicians and customer service personnel, Roll-A-Shade® is committed to providing the highest quality window treatment solutions. With a fully trained architectural staff, the project management team can assist with blueprints, design specifications and submittals.

Leading the industry in technology, Roll-A-Shade® offers a wide range of motorized options including full building automation systems and sun-tracking systems. Roll-A-Shade® window treatments have been specified in all areas of commercial construction including the health care, hospitality, education, retail and restaurant industries. As the single source of contact from start to finish, Roll-A-Shade® prides itself on pairing impeccable products with unparalleled customer service. All products are assembled in the U.S.A.

Our trained staff is available to assist you with your specifications. They can be contacted at (888)245-5077 or send an email to [bids@rollashade.com](mailto:bids@rollashade.com).

SECTION 10 71 13 – EXTERIOR SOLAR CONTROL

1. GENERAL
   * + 1. SUMMARY
          1. Section Includes:

Motor-operated exterior ZipShade [and control systems].

* + - 1. RELATED SECTIONS

\*NOTE TO SPECIFIER: Edit list below to include only those related sections that apply to Project.

* + - * 1. Section 05 57 00 "Decorative Formed Metal" for pockets for window treatment.
        2. Section 06 10 00 "Rough Carpentry" for wood blocking for securing roller shades.
        3. Section 07 92 00 "Joint Sealants" for sealing the perimeters of channels for light-blocking shades.
        4. Section 09 21 16.23 - Gypsum Board Shaft Wall Assemblies
        5. Section 09 51 13 "Acoustical Panel Ceilings" for pockets for window treatment.
        6. Division 16 sections for electrical power conductors, cables, and conduits for electrical service to motor-operated roller shades, conduit for low-voltage power and control wiring, and control devices and systems related to work of this Section.
      1. REFERENCES

\*NOTE TO SPECIFIER: Edit list below to include only those references that apply to Project.

* + - * 1. National Electrical Manufacturers Association (NEMA): [www.nema.org](http://www.nema.org):

NEMA ICS 6 Industrial Control and Systems Enclosures

* + - * 1. National Fire Protection Association (NFPA): [www.nfpa.org](http://www.nfpa.org):

NFPA 70 National Electrical Code

NFPA 701 Standard Methods of Fire Tests for Flame Propagation of Textiles and Films

* + - * 1. Window Covering Manufacturers Association: [www.access-board.gov](http://www.access-board.gov):

WCMA A 100.1 Safety of Corded Window Covering Products (ANSI)

* + - * 1. Lead Free: RoHS/Directive 2002/95/ED, US Consumer Product Safety Commission Section 101 and REACH (EC 1907/2006)
        2. GREENGUARD Environmental Institute Gold
      1. ADMINISTRATIVE REQUIREMENTS
         1. Pre-installation Conference: Conduct conference at Project site. Include representatives of Contractor, Owner, Architect, roller shade Installer, Installers of electrical connections, and others affecting or affected by the Work. Review the following:

Requirements of Contract Documents.

Requirements of shop drawings.

Delivery, storage, and handling.

Power and control wiring requirements for motor-operated roller shades.

* + - * 1. Coordination:

Coordinate installation of roller shades with installation of wall construction and connections to building services.

Coordinate installation of anchors and blocking indicated on roller shade shop drawings.

* + - 1. ACTION SUBMITTALS
         1. Product Data: For each type of (roller shades) product indicated. Include styles, material descriptions, construction details, dimensions of individual components and profiles, features, finishes, and operating instructions.
         2. Shop Drawings: For roller shades.

Provide plans, elevations, sections, product details, installation details, operational clearances, and relationship to adjacent work.

Locations and requirements for recesses and attachments to other work, including general construction, anchorage methods and locations, and service connections and locations.

Include diagrams for power, signal, and control wiring including dimensioned connection locations.

Indicate locations for fabric selections when more than one type is required.

* + - * 1. Samples for Initial Selection: For each type and color of shade material.

Include Samples of exposed accessories involving color selection.

* + - * 1. Samples for Verification: For each type of roller shade.

Shade Material: Not less than 8”x10” sample.

Roller Shade: Full-size operating unit, not less than 16 inches (400 mm) wide by 36 inches (900 mm) long for each type of roller shade indicated. Needs to be a larger minimum

Installation Accessories: Full-size unit, not less than 10 inches (250 mm) long. ??

* + - * 1. Window Treatment Schedule: For roller shades. Use same designations indicated on Drawings.
      1. INFORMATIONAL SUBMITTALS
         1. Qualification Data: For qualified roller shade fabricator and Installer.
         2. Product Certificates: For each type of shade material.
         3. Product Test Reports: For each type of shade material, certifying compliance with requirements.
         4. Low-Emitting Product Certificate: For roller window shade fabric products specified to meet volatile organic emissions standards, submit GREENGUARD certification or comparable certification acceptable to Architect.
         5. Lead-Free Certification: For roller window shade fabric products specified to meet lead free standards, submit RoHS certification or comparable certification acceptable to Architect.
      2. CLOSEOUT SUBMITTALS
         1. Operation and Maintenance Data: For roller shades, to include in maintenance manuals.

Methods for maintaining roller shades and finishes.

Precautions about cleaning materials and methods that could be detrimental to fabrics, finishes, and performance.

* + - 1. QUALITY ASSURANCE
         1. Manufacturer Qualifications: Obtain roller shades through one source from a single manufacturer with a minimum of 30 years’ experience in manufacturing products comparable to those specified in this section.
         2. Installer Qualifications: Experienced Installer, trained and certified by manufacturer, who has completed at least five installations similar in material, design, and extent to that indicated for this Project with a record of successful in-service performance.
         3. Fire-Test response characteristics: Passes NFPA 701-99 small and large-scale vertical burn. Materials tested shall be identical to products proposed for use.
         4. Anti-Microbial Characteristics: “No Growth” per ASTM G 21, G 22, G 2180, results for fungi ATCC 9642, ATCC 9644, ATCC 9645, RITB 2101.
         5. Mockups: If architect requires, provide a mock-up of one roller shade assembly specified for evaluation of mounting, appearance and accessories.

Locate mock-up in window designated by Architect.

Do not proceed with remaining work until mock-up is accepted by architect.

* + - 1. DELIVERY, STORAGE, AND HANDLING
         1. Do not deliver window shades until building is enclosed and construction within spaces which require shades is substantially complete.
         2. Deliver products in manufacturer’s unopened, original, undamaged containers with all labels intact.
         3. All containers and shades to be labeled according to Window Shade Schedule
         4. All products to be stored in manufacturer’s unopened packaging until site is ready for installation.
      2. PROJECT CONDITIONS
         1. Environmental Limitations: Install roller shades after finish work, including painting, is complete and ambient temperature and humidity conditions are maintained at levels indicated for Project when occupied for its intended use.
      3. WARRANTY
         1. Roller Shade Non-Electric Hardware: Manufacturer’s standard non-depreciating twenty-five (25) year limited warranty. Chain to have manufacturer’s standard, non-depreciating one (1) year limited warranty.
         2. Roller Shade Electrical Components: Electrical components, including plug-in and battery-powered motors, have Manufacturer’s non-depreciating five (5) year warranty.
         3. Roller Shade Installation: One (1) year from date of Substantial Completion, not including scaffolding, lifts or other means to reach inaccessible areas.
         4. Roller Shade Fabric: Manufacturer’s non-depreciating [ten] year limited warranty on fabrics installed on the interior. See Fabric Specification for specific fabric warranty.

1. PRODUCTS
   * + 1. MANUFACTURERS
          1. Basis of Design: **Roll-A-Shade, Inc.**; 12101 Madera Way, Riverside, California, 92503 Telephone: (951) 245-5077; Fax (951) 245-5075 Email: [Bids@rollashade.com](mailto:Bids@rollashade.com), [www.rollashade.com](http://www.rollashade.com)
          2. Substitutions: Not permitted.
       2. MOTORIZED ZIPSHADE SYSTEM
          1. Motorized ZipShade System (Exterior solar control for window or patio): Motorized fabric roller shade system that uses zipper side channels to move up and down. Used to control glare, heat, and light.

\*NOTE TO SPECIFIER: Retain one or more of the following systems to develop exterior shade spec.

System:

ZipShade 100 Slim:

Headbox: Shade system is enclosed in aluminum headbox measuring 4.3 inches wide by 6 inches high. Bottom closure allows shade to be removed from underneath.

Mount: Surface or Recessed

Colors: Black, Bronze, Anodized, Vanilla, White

Side Channels: Aluminum side channels with self-lubricating insert to ensure shade moves smoothly when rolled up and down

Mount: Surface or Recessed

Colors: Black, Bronze, Anodized, Vanilla, White

Bottom Rail: Aluminum bottom rail attached to bottom of shade measuring 1.17 inches wide by 2 inches high. Galvanized steel insert added to bottom rail for weight and tension. Bottom rails conceals completely into headbox,

Colors: Black, Bronze, Anodized, Vanilla, White

ZipShade 100: Do we want to include Mount in b and c?

Headbox: Shade system is enclosed in aluminum headbox measuring 4 inches wide by 4 inches high.

Colors: Black, Bronze, Anodized, Vanilla, White

Side Channels: Aluminum side channels with self-lubricating insert to ensure shade moves smoothly when rolled up and down

Colors: Black, Bronze, Anodized, Vanilla, White

Bottom Rail: Aluminum bottom rail attached to bottom of shade measuring 1.17 inches wide by 2 inches high. Galvanized steel insert added to bottom rail for weight and tension.

Colors: Black, Bronze, Anodized, Vanilla, White

ZipShade 150:

Headbox: Shade system is enclosed in aluminum headbox measuring 6 inches wide by 6 inches high.

Colors: Black, Bronze, Anodized, Vanilla, White

Side Channels: Aluminum side channels with self-lubricating insert to ensure shade moves smoothly when rolled up and down

Colors: Black, Bronze, Anodized, Vanilla, White

Bottom Rail: Aluminum bottom rail attached to bottom of shade measuring 1.17 inches wide by 2 inches high. Galvanized steel insert added to bottom rail for weight and tension.

Colors: Black, Bronze, Anodized, Vanilla, White

Fabric: All fabric passes NFPA Flame-Test: NFPA 701 and GREENGUARD Children & School Certified as a low emitting fabric.

Light Filtering:

Soltis Horizon 86 by Serge Ferrari: Approximately 14% openness. Composition: High-tenacity polyester

Color:

Soltis Perform 92 by Serge Ferrari: Approximately 4% openness. Composition: High-tenacity Polyester.

Color:

Natte by Mermet: Openness Factor: Approximately [5%, 10%]. Composition: 42% fiberglass / 58% vinyl.

Color:

Suntex 95 by Phifer: Openness factor: Approximately 5%. Composition: 28% Polyester, 72% Vinyl on Polyester

Color:

Blackout

SheerWeave Style 7000 (Blackout) by Phifer: Openness Factor: Opaque. Composition: 100% Polyester with Acrylic Flocked Backing (PVC-free).

Color:

* + - * 1. Motorized Operation and Control

Radio Frequency Motor:

Individual Control and Group Control:

Single channel wireless handheld transmitter

Four channel wireless handheld transmitter

5 channel wireless wall switch

Dry Contact

Sun Sensor

Wind Sensor

* + - 1. FABRICATION
         1. Shade Fabrication: Fabricate Shades without battens or seams to extent possible, except for the following conditions:

Railroaded Materials: Railroad material where material roll width is less than the required width of Shade and where indicated.

1. EXECUTION
   * + 1. EXAMINATION
          1. Examine roller window shade unit substrates with Installer for compliance with approved submittals and other conditions affecting performance of the Work.
          2. Verify locations of connections to building electrical system.
          3. Proceed with installation once unsatisfactory conditions have been corrected.
       2. PREPARATION
          1. Contractor shall clean Surfaces thoroughly prior to installation.
          2. Coordinate requirements for blocking and structural supports to ensure adequate means for installation of window shades.
          3. Prepare surfaces using the methods recommended by the manufacturer for achieving the best result for the substrate under the project conditions.
       3. INSTALLATION
          1. Install roller window shade units level, plumb, square, and aligned with adjacent units according to fabricator's written instructions.

\*NOTE TO SPECIFIER: Retain “Electrical Connections” paragraph if specifying motorized shades.

* + - * 1. Electrical Connections: Connect motor-operated roller window shade units to building electrical system.
        2. Roller Window Shade Unit Locations: [At exterior windows] [As indicated in window-covering schedule] [As indicated on Drawings].
        3. Adjust and balance roller shades to operate smoothly, easily, safely, and free from binding, tracking or malfunction throughout entire operational range.
      1. CLEANING AND PROTECTION
         1. Clean roller window shade unit surfaces, after installation, according to manufacturer's written instructions.
         2. Provide final protection and maintain conditions that ensure that roller window shade units are without damage at time of Substantial Completion.
         3. Protect installed products until completion of project.
         4. Replace damaged roller window shade units that cannot be repaired, before time of Substantial Completion.
      2. TRAINING
         1. Engage a manufacturer-authorized service representative to train Owner’s maintenance personnel to adjust, operate and maintain manual roller shaded systems.
         2. Engage a factory-authorized service representative to train Owner's maintenance personnel to adjust, operate, and maintain motor-operated roller window shade units.

END OF SECTION